| Customer Name : {{CUSTOMER_NAME}} Address : {{CUSTOMER_ADDRESS}} Contact Person: {{CONTACT_PERSON}} Email : {{CUSTOMER_EMAIL}} |  |  |  |
| --- | --- | --- | --- |
| Sample Name ( as stated by customer ) | {{SAMPLE_NAME}} | Registration No. | {{REGISTRATION_NO}} |
| Product Category | {{PRODUCT_CATEGORY}} | Issue Date | {{ISSUE_DATE}} |
| Sample Quantity | {{SAMPLE_QUANTITY}} | Date of Receipt | {{RECEIPT_DATE}} |
| Packing Details | {{PACKING_DETAILS}} | Testing period | {{TESTING_PERIOD}} |
| Marking Seal ( if any) | {{MARKING_SEAL}} | Standard Specification | {{STANDARD_SPECIFICATION}} |
| Sampling Details | {{SAMPLING_DETAILS}} | Sample condition on receipt | {{SAMPLE_CONDITION}} |
| Sample Description | {{SAMPLE_DESCRIPTION}} |  |  |

TEST RESULT

| Sr. No. | Test Parameters |  |  | UoM | Result |  | Test Method |  | Limit as per IS: 10500:2012 (Reaff.2023) with Amendment No: 4 November 2021 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | Requirement (Acceptable Limit) |  | Permissible Limit in the absence of Alternate Source |
| Discipline- Chemical Chemical Test Parameter |  |  |  |  |  |  |  |  | Group – Water Sub Group – Drinking water |  |  |
| Organoleptic and Physicals Parameters |  |  |  |  |  |  |  |  |  |  |  |
|  | Odour |  |  | - | Agreeable | IS 3025 (Part 5):2018 |  |  |  | Agreeable | Agreeable |
|  | Colour |  |  | CU | BLQ (LOQ 1) | IS 3025 (Part 4):2021 |  |  |  | Max. 5 | Max .15 |
|  | Taste |  |  | - | Agreeable | IS 3025 (Part 8): 2023 |  |  |  | Agreeable | Agreeable |
|  | Turbidity |  |  | NTU | BLQ (LOQ 0.01) | IS 3025 (part 10) Nephelometric Turbidity Unit (NTU)method:2023 |  |  |  | Max 1 | Max. 5 |
|  | pH |  |  | - | 7.23 | IS : 3025 (Part 11):2022 |  |  |  | 6.5 – 8.5 | No relaxation |
|  | Total Dissolved Solid |  |  | mg/L | 154 | IS 3025 (Part 16): 2023 |  |  |  | Max.500 | Max. 2000 |
| General Parameters |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Total Hardness (as CaCO3) | mg/L |  | 75.84 |  |  | IS 3025 (part 21) EDTA method:2009 |  | Max.200 | Max. 600 |
|  |  | Magnesum(asMg) | mg/L |  | 3.83 |  |  | IS 3025 (Part 46):2019 |  | Max. 30 | Max. 100 |
|  |  | Copper (as Cu) | mg/L |  | BLQ (LOQ 0.001) |  |  | IS 3025 (Part 65):2025 |  | Max 0.05 | Max. 1.5 |
|  |  | Iron (as Fe) | mg/L |  | BLQ (LOQ 0.01) |  |  | IS 3025 (Part 65):2025 |  | Max 0.3 | No relaxation |
|  |  | Manganese(asMn) | mg/L |  | BLQ (LOQ0.001) |  |  | IS 3025 (Part 65):2025 |  | Max 0.1 | Max. 0.3 |
|  |  | Nitrate( as NO3 ) | mg/L |  | BLQ (LOQ 0.1) |  |  | APHA 24th edition. :4500- NO3 -B Ultra Spectrophotometric Screening method, 2023 |  | Max 45 | No relaxation |

| Sample Name ( as stated by customer ) | {{SAMPLE_NAME}} | Registration No. | {{REGISTRATION_NO}} |
| --- | --- | --- | --- |
| Product Category | {{PRODUCT_CATEGORY}} | Issue Date | {{ISSUE_DATE}} |

| Sr. No. | Test Parameters | UoM | Result | Test Method | Requirement (Acceptable Limit) | Permissible Limit in the absence of Alternate Source |
| --- | --- | --- | --- | --- | --- | --- |
|  | Fluoride(as F) | mg/L | BLQ (LOQ 0.01) | APHA 24 edition:4500-F,D SPADNS Method 2023 | Max 1.0 | Max. 1.5 |
|  | Zinc (as Zn) | mg/L | 0.001 | IS 3025 (Part 65):2025 | Max 5 | Max. 15 |
|  | Aluminium (as Al) | mg/L | BLQ (LOQ 0.01) | IS 3025 (Part 65):2025 | Max 0.03 | Max. 0.2 |
|  | Ammonical Nitrogen (as NH3-N) | mg/L | BLQ (LOQ 0.05) | IS 3025 (Part 34 /Sec,1): 2023 | Max 0.5 | No relaxation |
|  | Anionic detergents (as MBAS) | mg/L | BLQ (LOQ 0.1) | IS 3025 (Part 68):2025 | Max 0.2 | Max. 1.0 |
|  | Chloride (as Cl) | mg/L | 49.42 | IS 3025 (Part 32) (Argentometric Method) : 1988 | Max 250 | Max. 1000 |
|  | Selenium (as Se) | mg/L | BLQ (LOQ 0.001) | IS 3025 (Part 65):2025 | Max 0.01 | No relaxation |
|  | Phenolic compounds (as C6H5OH) | mg/L | BLQ (LOQ 0.0005) | IS 3025 Part 43 : Sec 1: 2022 | Max. 0.001 | Max. 0.002 |
|  | Sulphate (as SO4 ) | mg/L | BLQ (LOQ 1.0) | IS 3025 (part 24)Turbidity method: 2022 | Max 200 | Max. 400 |
|  | Sulphide (as H2S) | mg/L | BLQ (LOQ 0.02) | IS 3025 Part 29 clause -7 Methylene blue method: 2022) | Max .0.05 | No relaxation |
|  | Total Alkalinity (as CaCO3 ) | mg/L | 100.94 | IS 3025 (Part 23):2023 | Max 200 | Max. 600 |
|  | Calcium (as Ca) | mg/L | 24.05 | IS 3025 (Part 40 /Sec.5) EDTA Titrimetric method: 2024 | Max 75 | Max. 200 |
|  | Chloramines (as Cl2) | mg/L | BLQ (LOQ 0.03) | IS 3025 (Part 26) clause -6 : 2021 | Max. 4.0 | No relaxation |
|  | Residual free chlorine | mg/L | BLQ (LOQ 0.01) | IS 3025 ( Part 26):2021 | Max 0.2 | Max. 1 |
|  | Mineral oil | mg/L | BLQ (LOQ 0.1) | IS 3025(PART 39/ Clause 5 Liquid-Liquid Partition Gravimetric Method:2021 | Max.0.5 | No relaxation |

| Sample Name ( as stated by customer ) | {{SAMPLE_NAME}} | Registration No. | {{REGISTRATION_NO}} |
| --- | --- | --- | --- |
| Product Category | {{PRODUCT_CATEGORY}} | Issue Date | {{ISSUE_DATE}} |

| Sr. No. | Test Parameters | UoM | Result |  |  | Test Method |  | Requirement (Acceptable Limit) |  | Permissible Limit in the absence of Alternate Source |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Boron (as B) | mg/L | BLQ (LOQ 0.001) |  |  | IS 3025 (Part 65):2025 |  | Max 0.5 |  | Max. 1.0 |  |
|  | Barium (as Ba) | mg/L | 0.001 |  |  | IS 3025 (Part 65):2025 |  | Max 0.7 |  | No relaxation |  |
|  | Silver (as Ag) | mg/L | BLQ (LOQ 0.001) |  |  | IS 3025 (Part 65):2025 |  | Max.0.1 |  | No relaxation |  |
| Parameters Concerning Toxic Substances |  |  |  |  |  |  |  |  |  |  |  |
|  | Cadmium (as Cd) | mg/L |  | BLQ (LOQ 0.001) |  |  | IS 3025 (Part 65):2025 | Max 0.003 |  | No relaxation |  |
|  | Cyanide as CN | mg/L |  | BLQ (LOQ 0.02) |  |  | APHA 24th edition 4500-CN-E Colorimetric :2023 | Max.0.05 |  | No relaxation |  |
|  | Lead (as Pb) | mg/L |  | BLQ (LOQ 0.001) |  |  | IS 3025 (Part 65):2025 | Max 0.01 |  | No relaxation |  |
|  | Chromium (as Cr) | mg/L |  | BLQ (LOQ 0.001) |  |  | IS 3025 (Part 65):2025 | Max.0.05 |  | No relaxation |  |
|  | Molybdenum (as Mo) | mg/L |  | BLQ (LOQ 0.001) |  |  | IS 3025 (Part 65):2025 | Max.0.07 |  | No relaxation |  |
|  | Mercury (as Hg) | mg/L |  | BLQ (LOQ 0.0001) |  |  | IS 3025 (Part 65):2025 | Max.0.001 |  | No relaxation |  |
|  | Total Arsenic (as As) | mg/L |  | BLQ (LOQ 0.001) |  |  | IS 3025 (Part 65):2025 | Max.0.01 |  | Max. 0.05 |  |
|  | Nickel (as Ni) | mg/L |  | BLQ (LOQ 0.001) |  |  | IS 3025 (Part 65):2025 | Max.0.02 |  | No relaxation |  |
| Parameters Concerning Toxic Substances |  |  |  |  |  |  |  |  |  |  |  |
|  | Polychlorinated Biphenyl (PCB) |  |  |  |  |  |  |  |  |  |  |
| i | PCB 118 | µg/L | BLQ (LOQ 0.01) |  | APHA24thEdition,Method 6630 D (By GC MSMS) |  |  |  | 0.0005mg/L (0.5 µg/L) |  | No relaxation |
| ii. | PCB 101 | µg/L | BLQ (LOQ 0.01) |  | APHA24thEdition,Method 6630 D (By GC MSMS) |  |  |  | 0.0005mg/L (0.5 µg/L) |  | No relaxation |
| iii. | PCB 138 | µg/L | BLQ (LOQ 0.01) |  | APHA24thEdition,Method 6630 D (By GC MSMS) |  |  |  | 0.0005mg/L (0.5 µg/L) |  | No relaxation |
| iv. | PCB 153 | µg/L | BLQ (LOQ 0.01) |  | APHA24thEdition,Method 6630 D (By GC MSMS) |  |  |  | 0.0005mg/L (0.5 µg/L) |  | No relaxation |
| Sample Name ( as stated by customer ) |  | {{SAMPLE_NAME}} |  |  | Registration No. |  |  |  | {{REGISTRATION_NO}} |  |  |
| Product Category |  | {{PRODUCT_CATEGORY}} |  |  | Issue Date |  |  |  | {{ISSUE_DATE}} |  |  |

| Sr. No. | Test Parameters | UoM | Result | Test Method | Requirement (Acceptable Limit) | Permissible Limit in the absence of Alternate Source |
| --- | --- | --- | --- | --- | --- | --- |
| v. | PCB 180 | µg/L | BLQ (LOQ 0.01) | APHA24thEdition,Method 6630 D (By GC MSMS) | 0.0005mg/L (0.5 µg/L) | No relaxation |
| vi. | PCB 28 | µg/L | BLQ (LOQ 0.01) | APHA24thEdition,Method 6630 D (By GC MSMS) | 0.0005mg/L (0.5 µg/L) | No relaxation |
| Vii. | PCB 52 | µg/L | BLQ (LOQ 0.01) | APHA24thEdition,Method 6630 D (By GC MSMS) | 0.0005mg/L (0.5 µg/L) | No relaxation |
| 10. | Polynuclear Aromatic Hydrocarbons (PAH) |  |  |  |  |  |
|  | Acenaphthene | µg/L | BLQ (LOQ 0.01) | APHA 6440B 24 Ed. 2023 | 0.0001mg/L (0.1 µg/L) | No relaxation |
|  | Acenaphtylene | µg/L | BLQ (LOQ 0.01) | APHA 6440B 24 Ed. 2023 | 0.0001mg/L (0.1 µg/L) | No relaxation |
|  | Anthracene | µg/L | BLQ (LOQ 0.01) | APHA 6440B 24 Ed. 2023 | 0.0001mg/L (0.1 µg/L) | No relaxation |
|  | Benz(a)anthracene | µg/L | BLQ (LOQ 0.01) | APHA 6440B 24 Ed. 2023 | 0.0001mg/L (0.1 µg/L) | No relaxation |
|  | Benzo (a)pyrene | µg/L | BLQ (LOQ 0.01) | APHA 6440B 24 Ed. 2023 | 0.0001mg/L (0.1 µg/L) | No relaxation |
|  | Benzo (b)fluoranthene | µg/L | BLQ (LOQ 0.01) | APHA 6440B 24 Ed. 2023 | 0.0001mg/L (0.1 µg/L) | No relaxation |
|  | Benzo (k)fluoranthene | µg/L | BLQ (LOQ 0.01) | APHA 6440B 24 Ed. 2023 | 0.0001mg/L (0.1 µg/L) | No relaxation |
|  | Benzo[g,h,i]perylene | µg/L | BLQ (LOQ 0.01) | APHA 6440B 24 Ed. 2023 | 0.0001mg/L (0.1 µg/L) | No relaxation |
|  | Chrysene | µg/L | BLQ (LOQ 0.01) | APHA 6440B 24 Ed. 2023 | 0.0001mg/L (0.1 µg/L) | No relaxation |
|  | Dibenz[a'h]anthracen | µg/L | BLQ (LOQ 0.01) | APHA 6440B 24 Ed. 2023 | 0.0001mg/L (0.1 µg/L) | No relaxation |
|  | Fluoranthrene | µg/L | BLQ (LOQ 0.01) | APHA 6440B 24 Ed. 2023 | 0.0001mg/L (0.1 µg/L) | No relaxation |
|  | Fluorene | µg/L | BLQ (LOQ 0.01) | APHA 6440B 24 Ed. 2023 | 0.0001mg/L (0.1 µg/L) | No relaxation |
|  | Indeno[123-c,]pyrene | µg/L | BLQ (LOQ 0.01) | APHA 6440B 24 Ed. 2023 | 0.0001mg/L (0.1 µg/L) | No relaxation |
|  | Napthalene | µg/L | BLQ (LOQ 0.01) | APHA 6440B 24 Ed. 2023 | 0.0001mg/L (0.1 µg/L) | No relaxation |
|  | Phenanthrene | µg/L | BLQ (LOQ 0.01) | APHA 6440B 24 Ed. 2023 | 0.0001mg/L (0.1 µg/L) | No relaxation |

| Sample Name ( as stated by customer ) | {{SAMPLE_NAME}} | Registration No. | {{REGISTRATION_NO}} |
| --- | --- | --- | --- |
| Product Category | {{PRODUCT_CATEGORY}} | Issue Date | {{ISSUE_DATE}} |

| Sr. No. | Test Parameters | UoM | Result | Test Method | Requirement (Acceptable Limit) |  | Permissible Limit in the absence of Alternate Source |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Pyrene | µg/L | BLQ (LOQ 0.01) | APHA 6440B 24 Ed. 2023 | 0.0001mg/L (0.1 µg/L) |  | No relaxation |
| Pesticides Residue |  |  |  |  |  |  |  |
|  | Alpha –HCH | µg/L | BLQ (LOQ 0.01) | USEPA508 Rev 3.1: 1995 | Max. 0.01 | No relaxation |  |
|  | Beta-HCH | µg/L | BLQ (LOQ 0.01) | USEPA508 Rev 3.1: 1995 | Max. 0.04 | No relaxation |  |
|  | Gamma -HCH | µg/L | BLQ (LOQ 0.01) | USEPA508 Rev 3.1: 1995 | Max. 2.0 | No relaxation |  |
|  | Delta – HCH | µg/L | BLQ (LOQ 0.01) | USEPA525.2: 1995 | Max. 0.04 | No relaxation |  |
|  | Alpha- Endosulfan | µg/L | BLQ (LOQ 0.01) | USEPA508 Rev 3.1: 1995 | Max. 0.4 | No relaxation |  |
|  | Beta endosulfan | µg/L | BLQ (LOQ 0.01) | USEPA525.2: 1995 | Max. 0.4 | No relaxation |  |
|  | Endosulfan-sulfate | µg/L | BLQ (LOQ 0.01) | USEPA508 Rev 3.1: 1995 | Max. 0.4 | No relaxation |  |
|  | Monocrotophos | µg/L | BLQ (LOQ 0.01) | USEPA8141 A: 1994 | Max. 1 | No relaxation |  |
|  | Ethion | µg/L | BLQ (LOQ 0.01) | USEPA1657 A: 2000 | Max. 3 | No relaxation |  |
|  | Chlorpyrifos | µg/L | BLQ (LOQ 0.01) | USEPA525.2: 1995 | Max. 30 | No relaxation |  |
|  | Phorate | µg/L | BLQ (LOQ 0.01) | USEPA8141 A: 1994 | Max. 2 | No relaxation |  |
|  | Phorate sulfoxide | µg/L | BLQ (LOQ 0.01) | USEPA8141 A: 1994 | Max. 2 | No relaxation |  |
|  | Phorate-sulfone | µg/L | BLQ (LOQ 0.01) | USEPA8141 : 1994 | Max. 2 | No relaxation |  |
|  | Butachlor | µg/L | BLQ (LOQ 0.01) | USEPA525.2: 1995 | Max. 125 | No relaxation |  |
|  | Isoproturon | µg/L | BLQ (LOQ 0.01) | USEPA525.2: 1995 | Max. 9 | No relaxation |  |
|  | Alachlor | µg/L | BLQ (LOQ 0.01) | USEPA525.2: 1995 | Max. 20 | No relaxation |  |
|  | Atrazine | µg/L | BLQ (LOQ 0.01) | USEPA525.2: 1995 | Max. 2 | No relaxation |  |
|  | Parathion-methyl | µg/L | BLQ (LOQ 0.01) | USEPA8141: 1995 | Max. 0.3 | No relaxation |  |
| Sample Name ( as stated by customer ) |  | {{SAMPLE_NAME}} |  | Registration No. | {{REGISTRATION_NO}} |  |  |
| Product Category |  | {{PRODUCT_CATEGORY}} |  | Issue Date | {{ISSUE_DATE}} |  |  |

| Sr. No. | Test Parameters | UoM |  | Result |  | Test Method |  |  | Requirement (Acceptable Limit) | Permissible Limit in the absence of Alternate Source |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Malathion | µg/L |  | BLQ (LOQ 0.01) |  | USEPA8141 : 1995 |  |  | Max. 190 | No relaxation |  |  |
|  | Malaoxon | µg/L |  | BLQ (LOQ 0.01) |  | USEPA8141: 1995 |  |  | Max. 190 | No relaxation |  |  |
|  | Aldrin | µg/L |  | BLQ (LOQ 0.01) |  | USEPA525.2: 1995 |  |  | Max. 0.03 | No relaxation |  |  |
|  | Dieldrin | µg/L |  | BLQ (LOQ 0.01) |  | USEPA525.2: 1995 |  |  | Max. 0.03 | No relaxation |  |  |
|  | 2,4-DDT | µg/L |  | BLQ (LOQ 0.01) |  | USEPA508 Rev 3.1: 1995 |  |  | Max. 1 | No relaxation |  |  |
|  | 4,4-DDT | µg/L |  | BLQ (LOQ 0.01) |  | USEPA508 Rev 3.1: 1995 |  |  | Max. 1 | No relaxation |  |  |
|  | p,p-DDE | µg/L |  | BLQ (LOQ 0.01) |  | USEPA508 Rev 3.1: 1995 |  |  | Max. 1 | No relaxation |  |  |
|  | 2,4-DDD | µg/L |  | BLQ (LOQ 0.01) |  | USEPA508 Rev 3.1: 1995 |  |  | Max. 1 | No relaxation |  |  |
|  | 4,4- DDD | µg/L |  | BLQ (LOQ 0.01) |  | USEPA 525.2 |  |  | Max. 1 | No relaxation |  |  |
|  | 2,4- D | µg/L |  | BLQ (LOQ 0.01) |  | EPA 515.1 |  |  | Max. 30 | No relaxation |  |  |
|  | 2,4-DDE | µg/L |  | BLQ (LOQ 0.01) |  | USEPA508 Rev 3.1: 1995 |  |  | Max. 1 | No relaxation |  |  |
| 31 | Trihalomethanes |  |  |  |  |  |  |  |  |  |  |  |
|  | Bromoform |  | mg/L |  | BLQ (LOQ 0.005) |  | APHA 24th Edition, 6232 B : 2023 | Max.0.1 |  |  |  | No relaxation |
|  | Bromodichloromethane |  | mg/L |  | BLQ (LOQ 0.005) |  | APHA 24th Edition, 6232 B : 2023 | Max. 0.06 |  |  |  | No relaxation |
|  | Chloroform |  | mg/L |  | BLQ (LOQ 0.005) |  | APHA 24th Edition, 6232 B : 2023 | Max. 0.2 |  |  | No relaxation |  |
|  | Dibromochloromethane |  | mg/L |  | BLQ (LOQ 0.005) |  | APHA 24th Edition, 6232 B : 2023 | Max. 0.1 |  |  | No relaxation |  |
| Sample Name ( as stated by customer ) |  |  | {{SAMPLE_NAME}} |  |  |  | Registration No. | {{REGISTRATION_NO}} |  |  |  |  |
| Product Category |  |  | {{PRODUCT_CATEGORY}} |  |  |  | Issue Date | {{ISSUE_DATE}} |  |  |  |  |

| Sr. No. |  | Test Parameters |  | UoM | Result | Test Method | Requirement (Acceptable Limit) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Discipline- Biological Microbiology Test Parameters |  |  |  |  |  | Group - Water Sub Group – Drinking water |  |
|  | Total Coliform |  | Per 100ml |  | Absent | IS 15185:2016 | Shall not be Detected |
|  | E. coli |  | Per 100ml |  | Absent | IS 15185:2016 | Shall not be Detected |

Remark :$5 It is recommended that the acceptable limit is to be implemented. Values in excess of those mentioned under

‘acceptable’$5  render the water not suitable, but still may be tolerated in the absence of an alternative source but up to the limits           indicated under ‘permissible limit in the absence of alternate source’ in col 7, above which the source will have rejected.

NOTE:$5 1) Report shall not be reproduced except in full without approval of the laboratory.

2) The results relate only to the items sampled & tested.

3) Duplicate report will be issued on chargeable basis.

Abbreviations used: UOM: Unit of Measurement; BLQ-Below limit of Quantification, LOQ:-Limit of Quantification DOE: Date of Expiry; DOM: Date of Manufacturing; NA: Not Applicable.NMT: Not More Than , NLT: Not Less Than

*End of report*